## Slide 1
Elevator Safety: Essential Dos and Don'ts for Users
In India, 62% of adults report elevator safety concerns. The economic toll exceeds ₹35,000 crore annually from preventable accidents.
One-third of all elevator incidents could be avoided through proper passenger behavior. This guide will help you stay safe.
SS

## Slide 2
Understanding Elevator Regulations in India
Bureau of Indian Standards (BIS) Code IS 14665
Establishes critical safety requirements for elevator installation and maintenance throughout India.
National Building Code (NBC) Part 8
Contains detailed provisions for lift design, operations and regular inspections.
State-specific Lift Acts
Regional regulations that enforce compliance with safety standards for all elevator installations.

## Slide 3
Common Elevator Accidents: Overcrowding
35%
Incident Rate
Of elevator incidents caused by exceeding capacity limits
68 KG/pass
Capacity Limit
Standard weight limit for residential lifts often ignored
Passenger Elevators 5,6,8,10,13,16,20,..... 200 Kg
Freight Elevators
1,2, 3,4 Ton.....

## Slide 4
Common Elevator Accidents: Door Interference
Highest Risk: Children
Most vulnerable to door-related injuries
Dangerous Action: Forcing Doors
27% of injuries from manually forcing doors
Equipment Impact: Safety Interlocks
40% of serious accidents from disrupted interlocks
Lack of Maintenance
₹25,000 average for door mechanism damage

## Slide 5
Common Elevator Accidents: Improper Use
Jumping Hazards
Causes sensor malfunction in 22% of breakdowns. Dangerous to all passengers.
Door Holding
Extended door holding damages motors. Creates costly maintenance issues.
Vandalism Impact
Costs Indian buildings ₹120 crore annually in unnecessary repairs.

## Slide 6
Safety Feature: Final Limit Switch
Overtravel Prevention
Stops elevator from traveling beyond terminal floors
Power Interruption
Automatically cuts power when activated
Regulatory Compliance
Required by IS 14665 safety standards
Effectiveness Rate
99.7% effective in preventing accidents

## Slide 7
Safety Feature: Automatic Rescue Device (ARD)
Power Failure Detection
Monitors electrical supply continuously
Backup System Activation
Switches to battery power automatically
Safe Floor Movement
Brings elevator to nearest floor level
Door Opening
Automatically opens doors for passenger exit

## Slide 8
Safety Feature: Door Safety Mechanisms
Sensor Technologies
Infrared light curtains
Pressure-sensitive edges
Motion detection systems
These sensors detect obstructions and prevent doors from closing on passengers.
Interlock Systems
Mechanical locks
Electrical safety circuits
Redundant verification
Door interlocks ensure proper operation and prevent accidents.
Door safety systems reduce injuries by 85% according to Indian safety statistics.

## Slide 9
Safety Feature: Buffer Systems & Braking Mechanisms
Emergency Brakes
Activate automatically during system failures
Buffer Systems
Absorb impact at bottom of shaft
Redundant Safeguards
Multiple systems ensure passenger protection
These systems are 98% effective in preventing serious injuries during system failures, as required by IS specifications.

## Slide 10
DO: Follow Capacity Limits
Observe Weight Restrictions
Check posted limits (typically 272 kg for 4 persons) and never exceed them.
Practice Patience
Wait for the next elevator if the car is already full. Safety trumps convenience.
Maintain Order
Stand clear of doors during entry/exit and distribute weight evenly inside the car.

## Slide 11
DO: Use Emergency Features Appropriately
Emergency features are critical safety systems. Use the alarm only for actual emergencies. Each false alarm costs approximately ₹5,000 to address.

## Slide 12
DO: Practice Proper Entry and Exit
Wait for Exiting Passengers
Allow those inside to exit before attempting to enter the elevator.
Use Door Control Properly
Hold doors using only designated buttons, never manually force them.
Prioritize Those in Need
Give way to elderly, pregnant women, and disabled persons.

## Slide 13
DON'T: Interfere with Door Operation
No Forcing
Never force doors open or closed manually. Wait for automatic operation.
No Blocking
Don't block doors with objects or limbs. This damages sensors and mechanisms.
No Holding
Don't hold doors open for extended periods. This strains motors and causes failures.
Costly Repairs
Door mechanism repairs cost between ₹15,000-₹30,000 for each incident.

## Slide 14
DON'T: Misuse Elevator Equipment
Dangerous Behavior
Consequence
Proper Alternative
Jumping or bouncing
Triggers safety stops
Stand still while riding
Pressing multiple buttons
Wastes energy, causes delays
Press only your destination floor
Leaning against doors
Can trigger sensors or mechanisms
Stand in center of car
Self-rescue attempts
Extremely dangerous
Wait for professional help

## Slide 15
Summary: Creating a Safer Elevator Environment
2
Respect Capacity
Never exceed posted weight and passenger limits
Proper Entry/Exit
Wait your turn and avoid blocking doors
Report Issues
Alert management about maintenance problems
Consider Alternatives
Use stairs for short trips when possible